# FOURMILE FPD				FIRE EXTINGUISHER INVENTORY

| STATION | APPARATUS | TYPE (fuel) | LAST TESTED |
| --- | --- | --- | --- |
| 1 | Engine 1 | ABC (multi-chem) |  |
| 2 | Engine 2 |  |  |
| 3 | Brush 1 Tanker 1 | A (water) ABC (multi-chem) BC | Full 3/95 3/93 |
| 4 | Engine 3 | ABC | 4/00 |

| STATION 1 ENGINE 1 | Previous Test Dates | Most Recent Test Date | Needs to be Tested |
| --- | --- | --- | --- |
|  | 11/86, 6/89 | 11/94 | 11/99 or retire |
|  | 1/91 | 3/95 | 3/00 |

| STATION 2 ENGINE 2 | Previous Test Dates | Most Recent Test Date | Needs to be Tested |
| --- | --- | --- | --- |
|  | 5/86 | 6/89, 12/94 | 12/99 or retire |
|  | 3/91 | 11/94 | 11/99 |
|  | 3/91 | 12/94 | 12/99 |
|  | 2/92 | 2/97 | 2/02 |
|  | 3/92 | 3/95 | 3/00 |
|  | 3/92 | 11/94 | 11/99 |

| STATION 4 ENGINE 3 | Previous Test Dates | Most Recent Test Date | Needs to be Tested |
| --- | --- | --- | --- |
|  | 6/89 | 11/94 | 11/99 |
|  | 1/91 | 3/95 | 3/00 |

Fire extinguishers get service every 6 years, and hydro every ?

O2 Tanks should be hydrotested every five years, and replaced after 3 tests, or before 15 years from purchase.  Once hydrotested, tanks need to be refilled.

SCBA composite tanks need hydro every three years.

fourmile_inventory/scba.doc7/9